Current Features with Unique Additions

Medication Reminder & Dispensing

- Time-based reminder to take medicine

- Red LED on specific drawer turns on

- Buzzer makes sound-will pronounce the medicine name

- Medicine image displayed on screen

- SMS sent to caregiver if patient does not take medicine

- Drawer opening detected; LED turns green upon correct opening

Can be added:

- Counter in App — keep record about how many doses should remain in the box after a week, and does that number show whether the patient missed or took extra medication.

- Low stock alert — Manual quantity input via app; SMS sent when stock runs low

- Missed dose escalation — if drawer not opened within set time, SMS sent to alternate caregiver

Prescription & App Integration

- - Reminders can be set manually via app

- - Reminders can be set by scanning a prescription

Can be added:

- Offline scheduling — reminders set, stored, and executed without internet; sync when connectivity returns

- Caregiver approval for changes — caregiver app confirmation required before patient modifies schedule

Health Monitoring

- Sensors for O₂ saturation, temperature, blood pressure

- All health records stored

Can be added:

- Threshold alerts — caregiver sets safe ranges for O₂, BP, temperature, glucose; SMS sent if readings fall outside limits

- Time-stamped correlation — logs medication doses alongside vital signs for trend reporting

Inventory & Reporting

- Tracks if medicine is finished

- Sends SMS to caregiver for refill when medicine runs out

- Print functionality available from app

Can be added:

- Compliance report generation — printable PDF of adherence history via app

- Printout from App

System Reliability

Can be added:

- Battery backup — backup battery with automatic switchover

- Event logging with timestamps — all events stored locally for audit and troubleshooting

- Offline operation — full local storage (SD card or EEPROM) with synchronization when connectivity returns